## Instructions
General Instructions to fill the CBNAAT Indicators
1 | The same sheet has to be used to enter data monthly
2 | The data for each month is not cummulative
3 | All CBNAAT sites to send indicators every month to respective IRL, NRL and CTD (sachdevak@rntcp.org, ghediam@rntcp.org, dhawans@rntcp.org, anands@rntcp.org and labreports@rntcp.org)
4 | Use a separate sheet for each CBNAAT laboratory in the state

## Indicators
Name of The CBNAAT Laboratory:
Address:
Contact Details:
Sr.No | Indicator | [5 empty] | Jan | Feb | March | April | May | June | July | Aug | Sep | Oct | Nov | Dec | Total
1 | Total number of tests performed using CBNAAT (RNTCP and referalls from private sector) | [17 empty] | 0
| HIV +ve out of '1' | [17 empty] | 0
| Paediatric out of '1' | [17 empty] | 0
2 | Total number of MTB not detected (MTB-) | [17 empty] | 0
3 | Total number of MTB detected and RIF sensitive (MTB+/Rif-) | [17 empty] | 0
| HIV +ve out of '3' | [17 empty] | 0
| Paediatric out of '3' | [17 empty] | 0
4 | Total number of MTB detected and RIF resistant (MTB+/Rif+) | [17 empty] | 0
| HIV +ve out of '4' | [17 empty] | 0
| Paediatric out of '4' | [17 empty] | 0
5 | Number of MTB Detected Rif Indeterminate (MTB+/Rif Indeterminate) | [17 empty] | 0
6 | Out of '5' number retested | [17 empty] | 0
7 | Number of MTB detected and RIF sensitive (MTB+/Rif-) from '5' | [17 empty] | 0
8 | Number of MTB detected and RIF resistant (MTB+/Rif+) from '5' | [17 empty] | 0
9 | Total number of errors | [17 empty] | 0
10 | Out of '9' what is the number of "type of error codes" | Code 5007 is major Error | Code 5007 is major Error | Code 5007 is major Error | Code 5007 is major Error | 2008 (sample too viscous) | [12 empty] | 0
[6 empty] | 5006, 5007, 5008 (probe check failure, incorrect volume of sample, viscous sample) | [12 empty] | 0
[6 empty] | 3074, 3075 (heater failure) | [12 empty] | 0
[6 empty] | Other error codes | [12 empty] | 0
11 | Number of "invalid test" (internal control not amplified) | [17 empty] | 0
12 | Number of "no results" (test stopped, electrical failure) | [17 empty] | 0
13 | Number retested out of indicator '9', '11' and '12' | [17 empty] | 0
14 | Number of MTB detected and RIF sensitive (MTB+/Rif-) from '9', '11', '12' | [17 empty] | 0
15 | Number of MTB detected and RIF resistant (MTB+/Rif+) from '9', '11', '12' | [17 empty] | 0
16 | New cases out of '4' sent for re-confirmation to RNTCP certified laboratory | [17 empty] | 0
17 | Out of '16' number of results received | [17 empty] | 0
18 | Total number of Smear +ve, CBNAAT MTB -ve | [17 empty] | 0
19 | Total number of samples sent to RNTCP certified laboratory from '18' | [17 empty] | 0
20 | Out of '19' number of results received | [17 empty] | 0
21 | Total number of Smear-ve, CBNAAT MTB +ve | [17 empty] | 0
22 | New cases out of '21' sent for re-confirmation to RNTCP certified laboratory | [17 empty] | 0
23 | Out of '22' number of results received | [17 empty] | 0
24 | Out of '3' number put on First Line Treatment | [17 empty] | 0
25 | Out of '4' number put on Second Line Treatment | [17 empty] | 0
26 | Number of referrals from private sector | [17 empty] | 0
27 | Number of MTB detected and RIF sensitive (MTB+/Rif-) from '26' | [17 empty] | 0
28 | Number of MTB detected and RIF resistant (MTB+/Rif+) from '26' | [17 empty] | 0
29 | New cases out of '28' sent for re-confirmation to RNTCP accredited laboratory | [17 empty] | 0
30 | Out of '29' number of results received | [17 empty] | 0
31 | Total number of cartridges received in the facility monthly | [17 empty] | 0
32 | Total number of cartridges in stock | [17 empty] | 0
33 | Number of EP-TB sample processed
34 | Number of MTB detected and RIF sensitive (MTB+/Rif-) from '33'
35 | Number of MTB detected and RIF resistant (MTB+/Rif+) from '34'